| Material | PMMA |
| --- | --- |
| Usage/Application | Eye Diseases/ Cataract Surgery |
| Optic Design | Spherical Bi-convex |
| Lens Type | Pmma Intraocular Lenses |
| Optic Size | PS 5580 - 5.50 mm |
| Haptic Design | "S" design with Step Vault |
| Overall Diameter | PS 5580 - 8.00 mm |
| Drilling Holes | -Nil- |
| Sterilization | Yes |
| A Constant | 117.2 |

IOVUE  IOLs are meant for the correction of refractive errors, providing patients with high quality vision. These are inserted either on top of the iris or in between the iris and the natural lens. They are used to treat refractive error without removing cornea tissue or the lens.

Features:

- Improved the PCO protection efficiency of the square edge.

- Increased stability.

- Clear vision.

- Smooth lens surface.

- Available in different powers.

- Step-vaulted haptic design.

- YAG Laser Compatible.