|  | CENTRAL INDIA EXPORT |  |
| --- | --- | --- |

IRISH CLAW (Lens Design):

| Brand Name | IO VUE |
| --- | --- |
| Lens Type | PMMA Single Piece Posterior Chamber Intraocular Lens. |
| Material | PMMA-CQ-with UV Blocker |
| Model | WIC5580PC |
| Optic Diameter | 5.50mm |
| Overall Diameter | 8.00mm |
| Haptic Design | Irish claw |
| Optic Design | Spherical Biconvex |
| Estimated A.Constant | 115.4 |
| Available Powers | 0.00 D to 6.00 in 1.0D steps. 6.00 to 30.00D in 0.5 D steps. |

Another model ::5.00mm/8.5mm also available