| Type | Posterior Chamber IOLs |
| --- | --- |
| Optic Design | Spherical Bi-convex |
| Material | PMMA |
| Usage/Application | Eye Diseases/ Cataract |
| Optic Diameter | IPA 6535S - 6.50 mm |
| Overall Length | IPA 6535S - 13.50 mm |
| Drilling Holes | IPA 6535S - -Nil- |
| Available Powers | +10.0 D to +35.0 D in 0.5 D steps; -5.0 D to +9.0 D & +31.0 to +35.0 D in 1.0 D Steps |
| Sterilization | Yes |
| Model Name/Number | IPA 6535S |
| Lens Type | Pmma Scleral Fixation Intraocular Lenses |
| A Constant | 118.2 |