| Type | Posterior Chamber IOLs |
| --- | --- |
| Optic Design | Spherical Bi-convex |
| Material | PMMA |
| Usage/Application | Eye Diseases/ Cataract |
| Optic Diameter | IPS 6025 - 6 mm |
| Overall Length | IPS 6025- 12.50 mm |
| Drilling Holes | IPS 6025 - Two |
| Available Powers | +10.0 D to +35.0 D in 0.5 D steps; -5.0 D to +9.0 D & +31.0 to +35.0 D in 1.0 D Steps |
| Sterilization | Yes |
| Model Name/Number | IPS 6025 |
| Lens Type | Pmma Intraocular Lenses |
| A Constant | 118.4 |

IOVUE IOLs are made up of high quality PMMA lens. It is placed behind the iris in the capsule. Implantation inside the capsular bag (first choice) or fix into the sulcus if the capsular bag is damaged. It is the widely used IOL for cataract surgery.

Product features:

- Larger optic diameter.

- Improved the PCO protection efficiency of the square edge.

- Increased stability.

- Clear vision.