Product Details:

| Haptic Design | "S" design with Step Vault |
| --- | --- |
| Available Powers | +10.0 D to +35.0 D in 0.5 D steps; -5.0 D to +9.0 D & +31.0 to +35.0 D in 1.0 D Steps |
| Optic Diameter | 6.00mm |
| Drilling Holes | Nil |
| Sterilization | Yes |
| Material | PMMA |
| Lens Type | Pmma Intraocular Lenses |
| Lens Model | IAC 6025 |
| Optic Design | Spherical Bi-convex |
| Usage/Application | Eye Diseases/ Cataract Surgery |
| Overall Length | 12.50 mm |
| Type | Anterior Chamber IOL |
| Suggested A. constant | 115.3 |

IOVUE Anterior chamber IOL is fixed with the support of iris. It is used as backup lens primarily when there is damage to the Posterior Chamber. Anterior Chamber IOL is also used in refractive surgery – implanting a lens in phakic eye to correct the refractive power.

Features:

- Improved the PCO protection efficiency of the square edge.

- Increased stability.

- Clear vision.

- Smooth lens surface.

- Available in different powers.

- Step-vaulted haptic design.

- YAG Laser Compatible.